{"text_format":"1","workbook":"xls","n_sheets":8,"sheets":["Graf (Z)","Graf (N)","Graf (E)","Graf","Graf - nasazení","BR3 - data","Graf (ZNE)","FFT"],"not_rendered":{"charts":11,"images":18,"macros":1,"external_links":2,"defined_names":2,"comments":6,"pivot_tables":0},"unopened":[{"sheet":"Graf (Z)","index":0,"reason":"not_a_worksheet"},{"sheet":"Graf (N)","index":1,"reason":"not_a_worksheet"},{"sheet":"Graf (E)","index":2,"reason":"not_a_worksheet"},{"sheet":"Graf","index":3,"reason":"not_a_worksheet"},{"sheet":"Graf - nasazení","index":4,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"BR3 - data","index":5,"n_rows":65,"n_cols":27,"rows_kept":65,"cut":false,"hidden":false,"merged":[[61,13,61,15],[57,13,57,15],[58,13,58,15],[59,13,59,15],[54,13,54,15],[55,13,55,15],[51,13,51,15],[52,13,52,15],[49,13,49,15],[48,13,48,15],[43,13,43,15],[40,13,40,15],[46,13,46,15],[31,13,31,15],[39,13,39,15],[42,13,42,15],[45,13,45,15],[36,13,36,15],[33,13,33,15],[34,13,34,15],[0,0,0,5],[0,7,0,9],[7,13,7,15],[15,13,15,15],[18,13,18,15],[22,13,22,15],[30,13,30,15],[26,13,26,15],[64,13,64,15],[65,13,65,15],[0,20,0,22],[1,20,1,22],[12,13,12,15],[13,13,13,15],[9,13,9,15],[0,17,0,19],[1,17,1,19],[16,13,16,15]],"flags":["formulas_cached_only"]}
["Originální měření",null,null,null,null,null,null,"Skutečné hodnoty",null,null,null,"Totální vektor",null,null,null,null,"ver.: 17","Fourierova analýza",null,null,"Modul komplexních čísel",null,null,"frekvence","Maximální rychlosti kmitání na jednotlivých frekvencích - nejhorší případ"]
["datum","čas","X","Y",null,"T",null,"Z [mm/s]","N [mm/s]","E [mm/s]",null,null,null,null,null,null,null,"[obecně komplexní čísla]",null,null,"[\"Amplitude spectrum\"]",null,null,"[Hz]",null,"[Hz]","[mm/s]"]
[null,null,null,null,null,null,null,"","","",null,"",null,null,null,null,null,null,null,null,{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},0,null,4,1.8]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,10,3]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,50,6]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,100,15]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Konstanty snímačů"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Z","N","E"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"[mV/(mm/s)]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,288,288,288]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"LSB převodu [mV/LSB]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,0.00762939453125]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Nula [LSB] (orientační)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,32766]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"maxima [mm/s]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Z","N","E"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"","",""]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"minima [mm/s]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Z","N","E"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"","",""]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"neklid [mm/s]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Z","N","E"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"","",""]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"max. totálního vektoru"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,""]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Nasazení (cca) v"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"00:00:00"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"poznámka"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Z=X","N=Y","E=Z"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Maximum [LSB]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,32768]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Spouštění [%]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,5]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Spouštění [LSB] - přep."]
[null,null,null,null,null,null,null,null,null,null,null,null,null,1638.4]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Spouštění [mm/s]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,0.043402777777777776]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Vzorkování [Hz]"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,512]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Délka FFT [s]"]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Poloha měření [s°m.v']"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Průměry pro offsety"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Číslo (název) souboru"]

{"sheet":"Graf (ZNE)","index":6,"n_rows":5,"n_cols":1,"rows_kept":5,"cut":false,"hidden":false,"merged":[[4,0,4,14],[0,0,0,14],[1,0,1,14],[3,0,3,14],[2,0,2,14]],"flags":["formulas_cached_only"]}
["VELOCIGRAM OTŘESU "]
[]
[]
[]
["Zpracováno softwarem Ústavu struktury a mechaniky hornin Akademie věd ČR"]

{"sheet":"FFT","index":7,"n_rows":5,"n_cols":1,"rows_kept":5,"cut":false,"hidden":false,"merged":[[5,0,5,14],[4,0,4,14],[0,0,0,14],[1,0,1,14],[3,0,3,14],[2,0,2,14]],"flags":["formulas_cached_only"]}
["FREKVENČNÍ SPEKTRUM OTŘESU"]
[]
[0]
[0]
["Zpracováno softwarem Ústavu struktury a mechaniky hornin Akademie věd ČR"]